# RESOL VBus/Modbus Configuration

|  |  |
| --- | --- |
| Filename: | RESOL\_WMZ\_Plus\_ModbusConfig\_1.0.0.cbor |
| ID: | RESOL\_WMZ\_Plus |
| Version: | 1.0.0 |
| Build at: | 2021-04-16 04:26 |

### Coils (Type 0)

No values defined!

### Discrete Inputs (Type 1)

No values defined!

### Input Registers (Type 3)

|  |  |  |  |
| --- | --- | --- | --- |
| Address | Description | Factor | Unit |
| 0 | WMZ PlusDate (bits 16..31) | 1 |  |
| 1 | WMZ PlusDate (bits 0..15) | 1 |  |
| 2 | WMZ PlusFlow HQM 1 | 0.1 | °C |
| 3 | WMZ PlusReturn HQM 1 | 0.1 | °C |
| 4 | WMZ PlusFlow rate HQM 1 | 1 | l/h |
| 5 | WMZ PlusHeat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 6 | WMZ PlusHeat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 7 | WMZ PlusCold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 8 | WMZ PlusCold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 9 | WMZ PlusTotal energy HQM 1 (bits 16..31) | 1 | Wh |
| 10 | WMZ PlusTotal energy HQM 1 (bits 0..15) | 1 | Wh |
| 11 | WMZ PlusTotal volume HQM 1 (bits 16..31) | 1 | l |
| 12 | WMZ PlusTotal volume HQM 1 (bits 0..15) | 1 | l |
| 13 | WMZ PlusPower HQM 1 (bits 16..31) | 1 | W |
| 14 | WMZ PlusPower HQM 1 (bits 0..15) | 1 | W |
| 15 | WMZ PlusStatus HQM 1 | 1 |  |
| 16 | WMZ PlusFlow HQM 2 | 0.1 | °C |
| 17 | WMZ PlusReturn HQM 2 | 0.1 | °C |
| 18 | WMZ PlusFlow rate HQM 2 | 1 | l/h |
| 19 | WMZ PlusHeat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 20 | WMZ PlusHeat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 21 | WMZ PlusCold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 22 | WMZ PlusCold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 23 | WMZ PlusTotal energy HQM 2 (bits 16..31) | 1 | Wh |
| 24 | WMZ PlusTotal energy HQM 2 (bits 0..15) | 1 | Wh |
| 25 | WMZ PlusTotal volume HQM 2 (bits 16..31) | 1 | l |
| 26 | WMZ PlusTotal volume HQM 2 (bits 0..15) | 1 | l |
| 27 | WMZ PlusPower HQM 2 (bits 16..31) | 1 | W |
| 28 | WMZ PlusPower HQM 2 (bits 0..15) | 1 | W |
| 29 | WMZ PlusStatus HQM 2 | 1 |  |
| 30 | WMZ PlusWarning mask (bits 16..31) | 1 |  |
| 31 | WMZ PlusWarning mask (bits 0..15) | 1 |  |
| 32 | WMZ PlusError mask (bits 16..31) | 1 |  |
| 33 | WMZ PlusError mask (bits 0..15) | 1 |  |
| 34 | WMZ PlusNote mask (bits 16..31) | 1 |  |
| 35 | WMZ PlusNote mask (bits 0..15) | 1 |  |
| 36 | WMZ PlusSW Version | 0.01 |  |
| 37 | WMZ Plus MasterDate (bits 16..31) | 1 |  |
| 38 | WMZ Plus MasterDate (bits 0..15) | 1 |  |
| 39 | WMZ Plus MasterFlow HQM 1 | 0.1 | °C |
| 40 | WMZ Plus MasterReturn HQM 1 | 0.1 | °C |
| 41 | WMZ Plus MasterFlow rate HQM 1 | 1 | l/h |
| 42 | WMZ Plus MasterHeat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 43 | WMZ Plus MasterHeat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 44 | WMZ Plus MasterCold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 45 | WMZ Plus MasterCold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 46 | WMZ Plus MasterTotal energy HQM 1 (bits 16..31) | 1 | Wh |
| 47 | WMZ Plus MasterTotal energy HQM 1 (bits 0..15) | 1 | Wh |
| 48 | WMZ Plus MasterTotal volume HQM 1 (bits 16..31) | 1 | l |
| 49 | WMZ Plus MasterTotal volume HQM 1 (bits 0..15) | 1 | l |
| 50 | WMZ Plus MasterPower HQM 1 (bits 16..31) | 1 | W |
| 51 | WMZ Plus MasterPower HQM 1 (bits 0..15) | 1 | W |
| 52 | WMZ Plus MasterStatus HQM 1 | 1 |  |
| 53 | WMZ Plus MasterFlow HQM 2 | 0.1 | °C |
| 54 | WMZ Plus MasterReturn HQM 2 | 0.1 | °C |
| 55 | WMZ Plus MasterFlow rate HQM 2 | 1 | l/h |
| 56 | WMZ Plus MasterHeat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 57 | WMZ Plus MasterHeat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 58 | WMZ Plus MasterCold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 59 | WMZ Plus MasterCold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 60 | WMZ Plus MasterTotal energy HQM 2 (bits 16..31) | 1 | Wh |
| 61 | WMZ Plus MasterTotal energy HQM 2 (bits 0..15) | 1 | Wh |
| 62 | WMZ Plus MasterTotal volume HQM 2 (bits 16..31) | 1 | l |
| 63 | WMZ Plus MasterTotal volume HQM 2 (bits 0..15) | 1 | l |
| 64 | WMZ Plus MasterPower HQM 2 (bits 16..31) | 1 | W |
| 65 | WMZ Plus MasterPower HQM 2 (bits 0..15) | 1 | W |
| 66 | WMZ Plus MasterStatus HQM 2 | 1 |  |
| 67 | WMZ Plus MasterWarning mask (bits 16..31) | 1 |  |
| 68 | WMZ Plus MasterWarning mask (bits 0..15) | 1 |  |
| 69 | WMZ Plus MasterError mask (bits 16..31) | 1 |  |
| 70 | WMZ Plus MasterError mask (bits 0..15) | 1 |  |
| 71 | WMZ Plus MasterNote mask (bits 16..31) | 1 |  |
| 72 | WMZ Plus MasterNote mask (bits 0..15) | 1 |  |
| 73 | WMZ Plus MasterSW Version | 0.01 |  |
| 74 | WMZ Plus MasterDate (bits 16..31) | 1 |  |
| 75 | WMZ Plus MasterDate (bits 0..15) | 1 |  |
| 76 | WMZ Plus MasterFlow HQM 1 | 0.1 | °C |
| 77 | WMZ Plus MasterReturn HQM 1 | 0.1 | °C |
| 78 | WMZ Plus MasterFlow rate HQM 1 | 1 | l/h |
| 79 | WMZ Plus MasterHeat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 80 | WMZ Plus MasterHeat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 81 | WMZ Plus MasterCold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 82 | WMZ Plus MasterCold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 83 | WMZ Plus MasterTotal energy HQM 1 (bits 16..31) | 1 | Wh |
| 84 | WMZ Plus MasterTotal energy HQM 1 (bits 0..15) | 1 | Wh |
| 85 | WMZ Plus MasterTotal volume HQM 1 (bits 16..31) | 1 | l |
| 86 | WMZ Plus MasterTotal volume HQM 1 (bits 0..15) | 1 | l |
| 87 | WMZ Plus MasterPower HQM 1 (bits 16..31) | 1 | W |
| 88 | WMZ Plus MasterPower HQM 1 (bits 0..15) | 1 | W |
| 89 | WMZ Plus MasterStatus HQM 1 | 1 |  |
| 90 | WMZ Plus MasterFlow HQM 2 | 0.1 | °C |
| 91 | WMZ Plus MasterReturn HQM 2 | 0.1 | °C |
| 92 | WMZ Plus MasterFlow rate HQM 2 | 1 | l/h |
| 93 | WMZ Plus MasterHeat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 94 | WMZ Plus MasterHeat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 95 | WMZ Plus MasterCold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 96 | WMZ Plus MasterCold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 97 | WMZ Plus MasterTotal energy HQM 2 (bits 16..31) | 1 | Wh |
| 98 | WMZ Plus MasterTotal energy HQM 2 (bits 0..15) | 1 | Wh |
| 99 | WMZ Plus MasterTotal volume HQM 2 (bits 16..31) | 1 | l |
| 100 | WMZ Plus MasterTotal volume HQM 2 (bits 0..15) | 1 | l |
| 101 | WMZ Plus MasterPower HQM 2 (bits 16..31) | 1 | W |
| 102 | WMZ Plus MasterPower HQM 2 (bits 0..15) | 1 | W |
| 103 | WMZ Plus MasterStatus HQM 2 | 1 |  |
| 104 | WMZ Plus MasterWarning mask (bits 16..31) | 1 |  |
| 105 | WMZ Plus MasterWarning mask (bits 0..15) | 1 |  |
| 106 | WMZ Plus MasterError mask (bits 16..31) | 1 |  |
| 107 | WMZ Plus MasterError mask (bits 0..15) | 1 |  |
| 108 | WMZ Plus MasterNote mask (bits 16..31) | 1 |  |
| 109 | WMZ Plus MasterNote mask (bits 0..15) | 1 |  |
| 110 | WMZ Plus MasterSW Version | 0.01 |  |
| 111 | WMZ Plus Slave 1Date (bits 16..31) | 1 |  |
| 112 | WMZ Plus Slave 1Date (bits 0..15) | 1 |  |
| 113 | WMZ Plus Slave 1Flow HQM 1 | 0.1 | °C |
| 114 | WMZ Plus Slave 1Return HQM 1 | 0.1 | °C |
| 115 | WMZ Plus Slave 1Flow rate HQM 1 | 1 | l/h |
| 116 | WMZ Plus Slave 1Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 117 | WMZ Plus Slave 1Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 118 | WMZ Plus Slave 1Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 119 | WMZ Plus Slave 1Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 120 | WMZ Plus Slave 1Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 121 | WMZ Plus Slave 1Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 122 | WMZ Plus Slave 1Total volume HQM 1 (bits 16..31) | 1 | l |
| 123 | WMZ Plus Slave 1Total volume HQM 1 (bits 0..15) | 1 | l |
| 124 | WMZ Plus Slave 1Power HQM 1 (bits 16..31) | 1 | W |
| 125 | WMZ Plus Slave 1Power HQM 1 (bits 0..15) | 1 | W |
| 126 | WMZ Plus Slave 1Status HQM 1 | 1 |  |
| 127 | WMZ Plus Slave 1Flow HQM 2 | 0.1 | °C |
| 128 | WMZ Plus Slave 1Return HQM 2 | 0.1 | °C |
| 129 | WMZ Plus Slave 1Flow rate HQM 2 | 1 | l/h |
| 130 | WMZ Plus Slave 1Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 131 | WMZ Plus Slave 1Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 132 | WMZ Plus Slave 1Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 133 | WMZ Plus Slave 1Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 134 | WMZ Plus Slave 1Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 135 | WMZ Plus Slave 1Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 136 | WMZ Plus Slave 1Total volume HQM 2 (bits 16..31) | 1 | l |
| 137 | WMZ Plus Slave 1Total volume HQM 2 (bits 0..15) | 1 | l |
| 138 | WMZ Plus Slave 1Power HQM 2 (bits 16..31) | 1 | W |
| 139 | WMZ Plus Slave 1Power HQM 2 (bits 0..15) | 1 | W |
| 140 | WMZ Plus Slave 1Status HQM 2 | 1 |  |
| 141 | WMZ Plus Slave 1Warning mask (bits 16..31) | 1 |  |
| 142 | WMZ Plus Slave 1Warning mask (bits 0..15) | 1 |  |
| 143 | WMZ Plus Slave 1Error mask (bits 16..31) | 1 |  |
| 144 | WMZ Plus Slave 1Error mask (bits 0..15) | 1 |  |
| 145 | WMZ Plus Slave 1Note mask (bits 16..31) | 1 |  |
| 146 | WMZ Plus Slave 1Note mask (bits 0..15) | 1 |  |
| 147 | WMZ Plus Slave 1SW Version | 0.01 |  |
| 148 | WMZ Plus Slave 2Date (bits 16..31) | 1 |  |
| 149 | WMZ Plus Slave 2Date (bits 0..15) | 1 |  |
| 150 | WMZ Plus Slave 2Flow HQM 1 | 0.1 | °C |
| 151 | WMZ Plus Slave 2Return HQM 1 | 0.1 | °C |
| 152 | WMZ Plus Slave 2Flow rate HQM 1 | 1 | l/h |
| 153 | WMZ Plus Slave 2Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 154 | WMZ Plus Slave 2Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 155 | WMZ Plus Slave 2Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 156 | WMZ Plus Slave 2Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 157 | WMZ Plus Slave 2Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 158 | WMZ Plus Slave 2Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 159 | WMZ Plus Slave 2Total volume HQM 1 (bits 16..31) | 1 | l |
| 160 | WMZ Plus Slave 2Total volume HQM 1 (bits 0..15) | 1 | l |
| 161 | WMZ Plus Slave 2Power HQM 1 (bits 16..31) | 1 | W |
| 162 | WMZ Plus Slave 2Power HQM 1 (bits 0..15) | 1 | W |
| 163 | WMZ Plus Slave 2Status HQM 1 | 1 |  |
| 164 | WMZ Plus Slave 2Flow HQM 2 | 0.1 | °C |
| 165 | WMZ Plus Slave 2Return HQM 2 | 0.1 | °C |
| 166 | WMZ Plus Slave 2Flow rate HQM 2 | 1 | l/h |
| 167 | WMZ Plus Slave 2Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 168 | WMZ Plus Slave 2Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 169 | WMZ Plus Slave 2Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 170 | WMZ Plus Slave 2Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 171 | WMZ Plus Slave 2Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 172 | WMZ Plus Slave 2Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 173 | WMZ Plus Slave 2Total volume HQM 2 (bits 16..31) | 1 | l |
| 174 | WMZ Plus Slave 2Total volume HQM 2 (bits 0..15) | 1 | l |
| 175 | WMZ Plus Slave 2Power HQM 2 (bits 16..31) | 1 | W |
| 176 | WMZ Plus Slave 2Power HQM 2 (bits 0..15) | 1 | W |
| 177 | WMZ Plus Slave 2Status HQM 2 | 1 |  |
| 178 | WMZ Plus Slave 2Warning mask (bits 16..31) | 1 |  |
| 179 | WMZ Plus Slave 2Warning mask (bits 0..15) | 1 |  |
| 180 | WMZ Plus Slave 2Error mask (bits 16..31) | 1 |  |
| 181 | WMZ Plus Slave 2Error mask (bits 0..15) | 1 |  |
| 182 | WMZ Plus Slave 2Note mask (bits 16..31) | 1 |  |
| 183 | WMZ Plus Slave 2Note mask (bits 0..15) | 1 |  |
| 184 | WMZ Plus Slave 2SW Version | 0.01 |  |
| 185 | WMZ Plus Slave 3Date (bits 16..31) | 1 |  |
| 186 | WMZ Plus Slave 3Date (bits 0..15) | 1 |  |
| 187 | WMZ Plus Slave 3Flow HQM 1 | 0.1 | °C |
| 188 | WMZ Plus Slave 3Return HQM 1 | 0.1 | °C |
| 189 | WMZ Plus Slave 3Flow rate HQM 1 | 1 | l/h |
| 190 | WMZ Plus Slave 3Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 191 | WMZ Plus Slave 3Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 192 | WMZ Plus Slave 3Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 193 | WMZ Plus Slave 3Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 194 | WMZ Plus Slave 3Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 195 | WMZ Plus Slave 3Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 196 | WMZ Plus Slave 3Total volume HQM 1 (bits 16..31) | 1 | l |
| 197 | WMZ Plus Slave 3Total volume HQM 1 (bits 0..15) | 1 | l |
| 198 | WMZ Plus Slave 3Power HQM 1 (bits 16..31) | 1 | W |
| 199 | WMZ Plus Slave 3Power HQM 1 (bits 0..15) | 1 | W |
| 200 | WMZ Plus Slave 3Status HQM 1 | 1 |  |
| 201 | WMZ Plus Slave 3Flow HQM 2 | 0.1 | °C |
| 202 | WMZ Plus Slave 3Return HQM 2 | 0.1 | °C |
| 203 | WMZ Plus Slave 3Flow rate HQM 2 | 1 | l/h |
| 204 | WMZ Plus Slave 3Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 205 | WMZ Plus Slave 3Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 206 | WMZ Plus Slave 3Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 207 | WMZ Plus Slave 3Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 208 | WMZ Plus Slave 3Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 209 | WMZ Plus Slave 3Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 210 | WMZ Plus Slave 3Total volume HQM 2 (bits 16..31) | 1 | l |
| 211 | WMZ Plus Slave 3Total volume HQM 2 (bits 0..15) | 1 | l |
| 212 | WMZ Plus Slave 3Power HQM 2 (bits 16..31) | 1 | W |
| 213 | WMZ Plus Slave 3Power HQM 2 (bits 0..15) | 1 | W |
| 214 | WMZ Plus Slave 3Status HQM 2 | 1 |  |
| 215 | WMZ Plus Slave 3Warning mask (bits 16..31) | 1 |  |
| 216 | WMZ Plus Slave 3Warning mask (bits 0..15) | 1 |  |
| 217 | WMZ Plus Slave 3Error mask (bits 16..31) | 1 |  |
| 218 | WMZ Plus Slave 3Error mask (bits 0..15) | 1 |  |
| 219 | WMZ Plus Slave 3Note mask (bits 16..31) | 1 |  |
| 220 | WMZ Plus Slave 3Note mask (bits 0..15) | 1 |  |
| 221 | WMZ Plus Slave 3SW Version | 0.01 |  |
| 222 | WMZ Plus Slave 4Date (bits 16..31) | 1 |  |
| 223 | WMZ Plus Slave 4Date (bits 0..15) | 1 |  |
| 224 | WMZ Plus Slave 4Flow HQM 1 | 0.1 | °C |
| 225 | WMZ Plus Slave 4Return HQM 1 | 0.1 | °C |
| 226 | WMZ Plus Slave 4Flow rate HQM 1 | 1 | l/h |
| 227 | WMZ Plus Slave 4Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 228 | WMZ Plus Slave 4Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 229 | WMZ Plus Slave 4Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 230 | WMZ Plus Slave 4Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 231 | WMZ Plus Slave 4Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 232 | WMZ Plus Slave 4Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 233 | WMZ Plus Slave 4Total volume HQM 1 (bits 16..31) | 1 | l |
| 234 | WMZ Plus Slave 4Total volume HQM 1 (bits 0..15) | 1 | l |
| 235 | WMZ Plus Slave 4Power HQM 1 (bits 16..31) | 1 | W |
| 236 | WMZ Plus Slave 4Power HQM 1 (bits 0..15) | 1 | W |
| 237 | WMZ Plus Slave 4Status HQM 1 | 1 |  |
| 238 | WMZ Plus Slave 4Flow HQM 2 | 0.1 | °C |
| 239 | WMZ Plus Slave 4Return HQM 2 | 0.1 | °C |
| 240 | WMZ Plus Slave 4Flow rate HQM 2 | 1 | l/h |
| 241 | WMZ Plus Slave 4Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 242 | WMZ Plus Slave 4Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 243 | WMZ Plus Slave 4Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 244 | WMZ Plus Slave 4Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 245 | WMZ Plus Slave 4Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 246 | WMZ Plus Slave 4Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 247 | WMZ Plus Slave 4Total volume HQM 2 (bits 16..31) | 1 | l |
| 248 | WMZ Plus Slave 4Total volume HQM 2 (bits 0..15) | 1 | l |
| 249 | WMZ Plus Slave 4Power HQM 2 (bits 16..31) | 1 | W |
| 250 | WMZ Plus Slave 4Power HQM 2 (bits 0..15) | 1 | W |
| 251 | WMZ Plus Slave 4Status HQM 2 | 1 |  |
| 252 | WMZ Plus Slave 4Warning mask (bits 16..31) | 1 |  |
| 253 | WMZ Plus Slave 4Warning mask (bits 0..15) | 1 |  |
| 254 | WMZ Plus Slave 4Error mask (bits 16..31) | 1 |  |
| 255 | WMZ Plus Slave 4Error mask (bits 0..15) | 1 |  |
| 256 | WMZ Plus Slave 4Note mask (bits 16..31) | 1 |  |
| 257 | WMZ Plus Slave 4Note mask (bits 0..15) | 1 |  |
| 258 | WMZ Plus Slave 4SW Version | 0.01 |  |
| 259 | WMZ Plus Slave 5Date (bits 16..31) | 1 |  |
| 260 | WMZ Plus Slave 5Date (bits 0..15) | 1 |  |
| 261 | WMZ Plus Slave 5Flow HQM 1 | 0.1 | °C |
| 262 | WMZ Plus Slave 5Return HQM 1 | 0.1 | °C |
| 263 | WMZ Plus Slave 5Flow rate HQM 1 | 1 | l/h |
| 264 | WMZ Plus Slave 5Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 265 | WMZ Plus Slave 5Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 266 | WMZ Plus Slave 5Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 267 | WMZ Plus Slave 5Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 268 | WMZ Plus Slave 5Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 269 | WMZ Plus Slave 5Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 270 | WMZ Plus Slave 5Total volume HQM 1 (bits 16..31) | 1 | l |
| 271 | WMZ Plus Slave 5Total volume HQM 1 (bits 0..15) | 1 | l |
| 272 | WMZ Plus Slave 5Power HQM 1 (bits 16..31) | 1 | W |
| 273 | WMZ Plus Slave 5Power HQM 1 (bits 0..15) | 1 | W |
| 274 | WMZ Plus Slave 5Status HQM 1 | 1 |  |
| 275 | WMZ Plus Slave 5Flow HQM 2 | 0.1 | °C |
| 276 | WMZ Plus Slave 5Return HQM 2 | 0.1 | °C |
| 277 | WMZ Plus Slave 5Flow rate HQM 2 | 1 | l/h |
| 278 | WMZ Plus Slave 5Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 279 | WMZ Plus Slave 5Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 280 | WMZ Plus Slave 5Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 281 | WMZ Plus Slave 5Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 282 | WMZ Plus Slave 5Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 283 | WMZ Plus Slave 5Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 284 | WMZ Plus Slave 5Total volume HQM 2 (bits 16..31) | 1 | l |
| 285 | WMZ Plus Slave 5Total volume HQM 2 (bits 0..15) | 1 | l |
| 286 | WMZ Plus Slave 5Power HQM 2 (bits 16..31) | 1 | W |
| 287 | WMZ Plus Slave 5Power HQM 2 (bits 0..15) | 1 | W |
| 288 | WMZ Plus Slave 5Status HQM 2 | 1 |  |
| 289 | WMZ Plus Slave 5Warning mask (bits 16..31) | 1 |  |
| 290 | WMZ Plus Slave 5Warning mask (bits 0..15) | 1 |  |
| 291 | WMZ Plus Slave 5Error mask (bits 16..31) | 1 |  |
| 292 | WMZ Plus Slave 5Error mask (bits 0..15) | 1 |  |
| 293 | WMZ Plus Slave 5Note mask (bits 16..31) | 1 |  |
| 294 | WMZ Plus Slave 5Note mask (bits 0..15) | 1 |  |
| 295 | WMZ Plus Slave 5SW Version | 0.01 |  |
| 296 | WMZ Plus Slave 6Date (bits 16..31) | 1 |  |
| 297 | WMZ Plus Slave 6Date (bits 0..15) | 1 |  |
| 298 | WMZ Plus Slave 6Flow HQM 1 | 0.1 | °C |
| 299 | WMZ Plus Slave 6Return HQM 1 | 0.1 | °C |
| 300 | WMZ Plus Slave 6Flow rate HQM 1 | 1 | l/h |
| 301 | WMZ Plus Slave 6Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 302 | WMZ Plus Slave 6Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 303 | WMZ Plus Slave 6Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 304 | WMZ Plus Slave 6Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 305 | WMZ Plus Slave 6Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 306 | WMZ Plus Slave 6Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 307 | WMZ Plus Slave 6Total volume HQM 1 (bits 16..31) | 1 | l |
| 308 | WMZ Plus Slave 6Total volume HQM 1 (bits 0..15) | 1 | l |
| 309 | WMZ Plus Slave 6Power HQM 1 (bits 16..31) | 1 | W |
| 310 | WMZ Plus Slave 6Power HQM 1 (bits 0..15) | 1 | W |
| 311 | WMZ Plus Slave 6Status HQM 1 | 1 |  |
| 312 | WMZ Plus Slave 6Flow HQM 2 | 0.1 | °C |
| 313 | WMZ Plus Slave 6Return HQM 2 | 0.1 | °C |
| 314 | WMZ Plus Slave 6Flow rate HQM 2 | 1 | l/h |
| 315 | WMZ Plus Slave 6Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 316 | WMZ Plus Slave 6Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 317 | WMZ Plus Slave 6Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 318 | WMZ Plus Slave 6Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 319 | WMZ Plus Slave 6Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 320 | WMZ Plus Slave 6Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 321 | WMZ Plus Slave 6Total volume HQM 2 (bits 16..31) | 1 | l |
| 322 | WMZ Plus Slave 6Total volume HQM 2 (bits 0..15) | 1 | l |
| 323 | WMZ Plus Slave 6Power HQM 2 (bits 16..31) | 1 | W |
| 324 | WMZ Plus Slave 6Power HQM 2 (bits 0..15) | 1 | W |
| 325 | WMZ Plus Slave 6Status HQM 2 | 1 |  |
| 326 | WMZ Plus Slave 6Warning mask (bits 16..31) | 1 |  |
| 327 | WMZ Plus Slave 6Warning mask (bits 0..15) | 1 |  |
| 328 | WMZ Plus Slave 6Error mask (bits 16..31) | 1 |  |
| 329 | WMZ Plus Slave 6Error mask (bits 0..15) | 1 |  |
| 330 | WMZ Plus Slave 6Note mask (bits 16..31) | 1 |  |
| 331 | WMZ Plus Slave 6Note mask (bits 0..15) | 1 |  |
| 332 | WMZ Plus Slave 6SW Version | 0.01 |  |
| 333 | WMZ Plus Slave 7Date (bits 16..31) | 1 |  |
| 334 | WMZ Plus Slave 7Date (bits 0..15) | 1 |  |
| 335 | WMZ Plus Slave 7Flow HQM 1 | 0.1 | °C |
| 336 | WMZ Plus Slave 7Return HQM 1 | 0.1 | °C |
| 337 | WMZ Plus Slave 7Flow rate HQM 1 | 1 | l/h |
| 338 | WMZ Plus Slave 7Heat quantity HQM 1 (bits 16..31) | 1 | Wh |
| 339 | WMZ Plus Slave 7Heat quantity HQM 1 (bits 0..15) | 1 | Wh |
| 340 | WMZ Plus Slave 7Cold quantity HQM 1 (bits 16..31) | 1 | Wh |
| 341 | WMZ Plus Slave 7Cold quantity HQM 1 (bits 0..15) | 1 | Wh |
| 342 | WMZ Plus Slave 7Total energy HQM 1 (bits 16..31) | 1 | Wh |
| 343 | WMZ Plus Slave 7Total energy HQM 1 (bits 0..15) | 1 | Wh |
| 344 | WMZ Plus Slave 7Total volume HQM 1 (bits 16..31) | 1 | l |
| 345 | WMZ Plus Slave 7Total volume HQM 1 (bits 0..15) | 1 | l |
| 346 | WMZ Plus Slave 7Power HQM 1 (bits 16..31) | 1 | W |
| 347 | WMZ Plus Slave 7Power HQM 1 (bits 0..15) | 1 | W |
| 348 | WMZ Plus Slave 7Status HQM 1 | 1 |  |
| 349 | WMZ Plus Slave 7Flow HQM 2 | 0.1 | °C |
| 350 | WMZ Plus Slave 7Return HQM 2 | 0.1 | °C |
| 351 | WMZ Plus Slave 7Flow rate HQM 2 | 1 | l/h |
| 352 | WMZ Plus Slave 7Heat quantity HQM 2 (bits 16..31) | 1 | Wh |
| 353 | WMZ Plus Slave 7Heat quantity HQM 2 (bits 0..15) | 1 | Wh |
| 354 | WMZ Plus Slave 7Cold quantity HQM 2 (bits 16..31) | 1 | Wh |
| 355 | WMZ Plus Slave 7Cold quantity HQM 2 (bits 0..15) | 1 | Wh |
| 356 | WMZ Plus Slave 7Total energy HQM 2 (bits 16..31) | 1 | Wh |
| 357 | WMZ Plus Slave 7Total energy HQM 2 (bits 0..15) | 1 | Wh |
| 358 | WMZ Plus Slave 7Total volume HQM 2 (bits 16..31) | 1 | l |
| 359 | WMZ Plus Slave 7Total volume HQM 2 (bits 0..15) | 1 | l |
| 360 | WMZ Plus Slave 7Power HQM 2 (bits 16..31) | 1 | W |
| 361 | WMZ Plus Slave 7Power HQM 2 (bits 0..15) | 1 | W |
| 362 | WMZ Plus Slave 7Status HQM 2 | 1 |  |
| 363 | WMZ Plus Slave 7Warning mask (bits 16..31) | 1 |  |
| 364 | WMZ Plus Slave 7Warning mask (bits 0..15) | 1 |  |
| 365 | WMZ Plus Slave 7Error mask (bits 16..31) | 1 |  |
| 366 | WMZ Plus Slave 7Error mask (bits 0..15) | 1 |  |
| 367 | WMZ Plus Slave 7Note mask (bits 16..31) | 1 |  |
| 368 | WMZ Plus Slave 7Note mask (bits 0..15) | 1 |  |
| 369 | WMZ Plus Slave 7SW Version | 0.01 |  |

### Holding Registers (Type 4)

No values defined!